**McMahon Concrete Products Ltd.,**

**Knockboheen,**

**Foynes Road,**

**Ardagh,**

**Co Limerick.**

**Ph:- 069- 76167 / 087 – 278 – 1076.**

**E mail:- mcmahonconcreteproducts at gmail.com**

**Web:- mcmahonconcreteproducts.com**

**Data Specification Sheet**

Product:- Standard House 10” x “2 Sill – 6’ 6” Length

Width :- 10inches ( 250 mm )

Face :- 2 inches ( 50mm )

Rear Upstand ( h1 Height ) :- 4 inches ( 100mm )

Seating ( W2 ):- 2 inches ( 50mm )

Length:- 6 foot and 6 inches.

Weight:- 80 kg

Concrete Specification:- 40 Newton Concrete.

Reinforcing:- Three Bars of 6 mm mild steel.

